## About
SoESCaOMCbIC Share of Electricity Sector Capital and O&M Costs by ISIC Code | Nebraska | 2021-05-20
Sources: | Solar PV Costs |  | Hard Coal and Lignite Costs | Nuclear Costs
| NREL |  | NREL | World Nuclear Association
| 2018 |  | 2016 | 2020
| U.S. Solar Photovoltaic System Cost Benchmark: Q1 2018 |  | JEDI Coal Model | Economics of Nuclear Power
| https://www.nrel.gov/docs/fy19osti/72399.pdf |  | https://www.nrel.gov/analysis/jedi/coal.html | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
| Figure 28 |  | "DefaultData" and "Calculations" tabs | Capital cost breakdown by labour, goods, and materials
| Onshore Wind Costs |  | Natural Gas Nonpeaker and All Oil Costs | Hydro Construction Costs
| NREL |  | NREL | NREL
| 2019 |  | 2017 | 2016
| JEDI Land Based Wind |  | JEDI Natural Gas Model | JEDI Conventional Hydropower Model
| https://www.nrel.gov/analysis/jedi/wind.html |  | https://www.nrel.gov/analysis/jedi/natural-gas.html | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
| "DefaultData" and "Calculations" tabs |  | "DefaultData" and "Calculations" tabs | "DefaultData" and "Calculations" tabs
| Cost to Sector Mapping for Solar PV and Onshore Wind |  | Geothermal O&M Costs | Hydro O&M Costs
| NREL |  | EIA | INL
| 2016 |  | 2020 | 2003
| I-JEDI Model |  | Capital Cost and Performance Characteristic Estimates for Utility Scale Electric Power Generating Technologies | Estimaton of Economic Parameters of U.S. Hydropower Resources
| https://www.nrel.gov/analysis/jedi/international.html |  | https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/capital_cost_AEO2020.pdf | https://www1.eere.energy.gov/water/pdfs/doewater-00662.pdf
| "Calculations" tab |  | Table 15.2 | p.8, 2.2
| Solar Thermal Costs |  | Offshore Wind | Biomass; Geothermal
| NREL |  | NREL | NREL
| 2016 |  | 2017 | 2016
| JEDI Concentrating Solar Power Model |  | JEDI Offshore Wind Model | I-JEDI Model
| https://www.nrel.gov/analysis/jedi/csp.html |  | https://www.nrel.gov/analysis/jedi/wind.html | https://www.nrel.gov/analysis/jedi/international.html
| "DefaultData" and "Calculations" tabs |  | "DefaultData" and "Calculations" tabs | "DefaultData" and "Calculations" tabs
Notes:
Petroleum, crude, and fuel oil plants assigned same cost structure as natural gas plants as the designs are usually the same. If the type of plant
in the region being adapted differs from a traditional natural gas combined cycle plant, these values should be updated.
Municipal solid waste assigned same cost structure as biomass plants as the designs are usually similar. If the type of plant in the region being
adapted differs from a traditional biomass plant, these values should be updated
Natural gas peaker assigned same costs structure as natural gas nonpeaker.
Though a geothermal-specific JEDI model exists, we use the I-JEDI version for simplicity.

## OECD Mapping
OECD Code | ISIC Code
D01T03: Agriculture, forestry and fishing | ISIC 01T03
D05: Coal mining | ISIC 05
D06: Oil and gas extraction | ISIC 06
D07T08: Mining and quarrying of uranium and non-energy-producing products | ISIC 07T08
D09: Mining support service activities | ISIC 09
D10T12: Food products, beverages and tobacco | ISIC 10T12
D13T15: Textiles, wearing apparel, leather and related products | ISIC 13T15
D16: Wood and products of wood and cork | ISIC 16
D17T18: Paper products and printing | ISIC 17T18
D19: Coke and refined petroleum products | ISIC 19
D20: Chemicals | ISIC 20
D21: Pharmaceuticals | ISIC 21
D22: Rubber and plastic products | ISIC 22
D231: Glass | ISIC 231
D239: Cement and other nometallic minerals | ISIC 239
D241: Iron and steel | ISIC 241
D242: Other metals | ISIC 242
D25: Fabricated metal products | ISIC 25
D26: Computer, electronic and optical products | ISIC 26
D27: Electrical equipment | ISIC 27
D28: Machinery and equipment, nec | ISIC 28
D29: Motor vehicles, trailers and semi-trailers | ISIC 29
D30: Other transport equipment | ISIC 30
D31T33: Other manufacturing; repair and installation of machinery and equipment | ISIC 31T33
D351: Electricity generation and distribution | ISIC 351
D352T353: Energy pipelines and gas processing | ISIC 352T353
D36T39: Water and waste | ISIC 36T39
D41T43: Construction | ISIC 41T43
D45T47: Wholesale and retail trade; repair of motor vehicles | ISIC 45T47
D49T53: Transportation and storage | ISIC 49T53
D55T56: Accomodation and food services | ISIC 55T56
D58T60: Publishing, audiovisual and broadcasting activities | ISIC 58T60
D61: Telecommunications | ISIC 61
D62T63: IT and other information services | ISIC 62T63
D64T66: Financial and insurance activities | ISIC 64T66
D68: Real estate activities | ISIC 68
D69T82: Other business sector services | ISIC 69T82
D84: Public admin. and defence; compulsory social security | ISIC 84
D85: Education | ISIC 85
D86T88: Human health and social work | ISIC 86T88
D90T96: Arts, entertainment, recreation and other service activities | ISIC 90T96
D97T98: Private households with employed persons | ISIC 97T98

## Cost Breakdowns
Solar PV
Capital Costs | Percent | OECD Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Module | 41.23% | D26: Computer, electronic and optical products | ISIC 26 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
Inverter | 13.16% | D27: Electrical equipment | ISIC 27 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
Electrical BOS | 11.4% | D27: Electrical equipment | ISIC 27 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
Structural BOS | 7.018% | D41T43: Construction | ISIC 41T43 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
Install Labor and Equipment | 8.772% | D41T43: Construction | ISIC 41T43 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
EPC Overhead | 5.263% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
Sales Tax | 4.386% | D84: Public admin. and defence; compulsory social security | ISIC 84 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
Developer Overhead | 1.754% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
Contingency | 2.632% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
EPC/Developer Net Profit | 4.386% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/docs/fy19osti/72399.pdf, Figure 28
Fixed O&M Costs
Maintenance and repair services | 35.35% | D41T43: Construction | ISIC 41T43 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Repair parts | 64.65% | D26: Computer, electronic and optical products | ISIC 26 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Onshore Wind
Capital Costs | Percent | I-O Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Equipment Costs
Turbines and other equipment (excluding blades and towers) | 42.24% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Land Based Wind JEDI and judgment
Blades | 9.889% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Land Based Wind JEDI and judgment
Towers | 10.95% | D25: Fabricated metal products | ISIC 25 | Mapping based on Land Based Wind JEDI and judgment
Transportation | 7.558% | D49T53: Transportation and storage | ISIC 49T53 | Mapping based on Land Based Wind JEDI and judgment
Equipment Total | 70.63%
Balance of Plant
Materials
Construction (concrete, rebar, equip, roads and site prep) | 10.21% | D41T43: Construction | ISIC 41T43 | Mapping based on Land Based Wind JEDI and judgment
Transformer | 1.155% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Land Based Wind JEDI and judgment
Electrical (drop cable, wire, ) | 1.217% | D27: Electrical equipment | ISIC 27 | Mapping based on Land Based Wind JEDI and judgment
HV line extension | 2.223% | D41T43: Construction | ISIC 41T43 | Mapping based on Land Based Wind JEDI and judgment
Materials Subtotal | 14.8%
Labor
Foundation | 0.7273% | D41T43: Construction | ISIC 41T43 | Mapping based on Land Based Wind JEDI and judgment
Erection | 0.8238% | D41T43: Construction | ISIC 41T43 | Mapping based on Land Based Wind JEDI and judgment
Electrical | 1.201% | D41T43: Construction | ISIC 41T43 | Mapping based on Land Based Wind JEDI and judgment
Management/Supervision | 0.623% | D41T43: Construction | ISIC 41T43 | Mapping based on Land Based Wind JEDI and judgment
Misc. | 3.611% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Land Based Wind JEDI and judgment
Labor Subtotal | 6.986%
Development/Other Costs
HV Sub/Interconnection
Materials | 0.7015% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Land Based Wind JEDI and judgment
Labor | 0.2149% | D41T43: Construction | ISIC 41T43 | Mapping based on Land Based Wind JEDI and judgment
Engineering | 0.9545% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Land Based Wind JEDI and judgment
Legal Services | 0.5202% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Land Based Wind JEDI and judgment
Land Easements | 0% | D68: Real estate activities | ISIC 68 | Mapping based on Land Based Wind JEDI and judgment
Site Certificate/Permitting | 0.2434% | D84: Public admin. and defence; compulsory social security | ISIC 84 | Mapping based on Land Based Wind JEDI and judgment
Development/Other Subtotal | 2.634%
Balance of Plant Total | 24.42%
Subtotal (all cost without taxes) | 95.05%
Sales Tax (Material and Equipment Purchases) | 4.945% | D84: Public admin. and defence; compulsory social security | ISIC 84 | Mapping based on Land Based Wind JEDI and judgment
Total | 100%
Fixed O&M Costs
Labor
Personnel
Field Salaries (i.e., onsite wind technicians, etc.) | 7.876% | D351: Electricity generation and distribution | ISIC 351 | Mapping based on Land Based Wind JEDI and judgment
Administrative | 0.7468% | D351: Electricity generation and distribution | ISIC 351 | Mapping based on Land Based Wind JEDI and judgment
Management | 1.4% | D351: Electricity generation and distribution | ISIC 351 | Mapping based on Land Based Wind JEDI and judgment
Labor/Personnel Subtotal | 10.02%
Materials and Services
Vehicles | 2.456% | D45T47: Wholesale and retail trade; repair of motor vehicles | ISIC 45T47 | Mapping based on Land Based Wind JEDI and judgment
Site Maint/Misc. Services | 0.9577% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Land Based Wind JEDI and judgment
Fees, Permits, Licenses | 0.4789% | D84: Public admin. and defence; compulsory social security | ISIC 84 | Mapping based on Land Based Wind JEDI and judgment
Utilities | 1.915% | D351: Electricity generation and distribution | ISIC 351 | Mapping based on Land Based Wind JEDI and judgment
Insurance | 18.42% | D64T66: Financial and insurance activities | ISIC 64T66 | Mapping based on Land Based Wind JEDI and judgment
Fuel (motor vehicle gasoline) | 0.9577% | D19: Coke and refined petroleum products | ISIC 19 | Mapping based on Land Based Wind JEDI and judgment
Consumables/Tools and Misc. Supplies | 6.225% | D45T47: Wholesale and retail trade; repair of motor vehicles | ISIC 45T47 | Mapping based on Land Based Wind JEDI and judgment
Replacement Parts/Equipment/ Spare Parts Inventory | 54.55% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Land Based Wind JEDI and judgment
Materials and Services Subtotal | 85.96%
Sales Tax (Materials & Equipment Purchases) | 4.015% | D84: Public admin. and defence; compulsory social security | ISIC 84 | Mapping based on Land Based Wind JEDI and judgment
Other Taxes/Payments | 0%
Total O&M Cost | 100%
Coal
Capital Costs | Percent | I-O Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Facility and Equipment |  |  |  |  | https://www.nrel.gov/analysis/jedi/coal.html
Power Generation | 13.72% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
General facilities | 8.385% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Plant Equipment | 23.52% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Facility and Equipment Subtotal | 45.62% |  |  |  | https://www.nrel.gov/analysis/jedi/coal.html
Labor |  |  |  |  | https://www.nrel.gov/analysis/jedi/coal.html
Construction Labor | 22.94% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Project management | 0.6942% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Labor Subtotal | 23.64% |  |  |  | https://www.nrel.gov/analysis/jedi/coal.html
Construction Subtotal | 69.26% |  |  |  | https://www.nrel.gov/analysis/jedi/coal.html
Other Costs |  |  |  |  | https://www.nrel.gov/analysis/jedi/coal.html
Engineering, Procurement, Construction Management | 7.107% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Construction insurance | 1.163% | D64T66: Financial and insurance activities | ISIC 64T66 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Land | 0% | D68: Real estate activities | ISIC 68 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Catalysts & chemicals | 0.1299% | D20: Chemicals | ISIC 20 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Grid intertie | 6.843% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Owner costs | 11.63% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Legal and Advisory | 3.802% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Spare Parts | 0.06612% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Other Subtotal | 30.74%
Total | 100%
Fixed O&M Costs
Labor | 59.74% | D351: Electricity generation and distribution | ISIC 351 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Materials | 25.11% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Services | 15.15% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Total | 100%
Variable O&M Costs
Ash/sludge disposal | 7.104% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Water | 76.5% | D36T39: Water and waste | ISIC 36T39 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Catalysts & chemicals | 16.39% | D20: Chemicals | ISIC 20 | Mapping based on JEDI and judgment | https://www.nrel.gov/analysis/jedi/coal.html
Total | 100%
Natural Gas Nonpeaker
Capital Costs | Percent | I-O Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Facility and Equipment
Power Generation | 35.29% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
General facilities | 8.824% | D41T43: Construction | ISIC 41T43 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Plant Equipment | 15.88% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Subtotal | 60% |  |  |  | https://www.nrel.gov/analysis/jedi/natural-gas.html
Labor and Management |  |  |  |  | https://www.nrel.gov/analysis/jedi/natural-gas.html
Construction Labor | 17.06% | D41T43: Construction | ISIC 41T43 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Project management (contruction and owner's) | 9.412% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Construction Utilities | 0.5882% | D351: Electricity generation and distribution | ISIC 351 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Subtotal | 27.06% |  |  |  | https://www.nrel.gov/analysis/jedi/natural-gas.html
Construction Subtotal | 87.06% |  |  |  | https://www.nrel.gov/analysis/jedi/natural-gas.html
Other Costs |  |  |  |  | https://www.nrel.gov/analysis/jedi/natural-gas.html
Engineering/Design | 2.353% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Construction insurance | 0.5882% | D64T66: Financial and insurance activities | ISIC 64T66 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Land | 4.706% | D68: Real estate activities | ISIC 68 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Permitting Fees | 2.353% | D84: Public admin. and defence; compulsory social security | ISIC 84 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Grid intertie | 2.353% | D41T43: Construction | ISIC 41T43 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Spare Parts | 0.5882% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Other Subtotal | 12.94%
Subtotal All Costs (without sales tax) | 100% |  |  |  | https://www.nrel.gov/analysis/jedi/natural-gas.html
Sales Tax (Materials & Equipment Purchases) | 100% |  |  |  | https://www.nrel.gov/analysis/jedi/natural-gas.html
Fixed O&M Costs |  |  |  |  | https://www.nrel.gov/analysis/jedi/natural-gas.html
Labor | 41.82% | D351: Electricity generation and distribution | ISIC 351 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Materials | 6.06% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Services | 52.12% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Total | 100% |  |  |  | https://www.nrel.gov/analysis/jedi/natural-gas.html
Variable O&M Costs
Routine Turbine Maintenance | 84.48% | D31T33: Other manufacturing; repair and installation of machinery and equipment | ISIC 31T33 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Water | 5.172% | D36T39: Water and waste | ISIC 36T39 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Catalysts & chemicals | 10.34% | D20: Chemicals | ISIC 20 | Mapping based on Natural Gas JEDI and judgment | https://www.nrel.gov/analysis/jedi/natural-gas.html
Total | 100%
Nuclear
Capital Costs | Percent | I-O Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Equipment
Nuclear steam supply system | 12% | D28: Machinery and equipment, nec | ISIC 28 | Assumption made by EI
Electrical and generating equipment | 12% | D28: Machinery and equipment, nec | ISIC 28 | Assumption made by EI | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
Mechanical equipment | 16% | D28: Machinery and equipment, nec | ISIC 28 | Assumption made by EI | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
Instrumentation and control system (including software) | 8% | D28: Machinery and equipment, nec | ISIC 28 | Assumption made by EI | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
Construction materials | 12% | D28: Machinery and equipment, nec | ISIC 28 | Assumption made by EI | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
Labour onsite | 25% | D41T43: Construction | ISIC 41T43 | Assumption made by EI | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
Project management services | 10% | D41T43: Construction | ISIC 41T43 | Assumption made by EI | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
Other services | 2% | D69T82: Other business sector services | ISIC 69T82 | Assumption made by EI | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
First fuel load | 3% | D07T08: Mining and quarrying of uranium and non-energy-producing products | ISIC 07T08 | Assumption made by EI | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
Total | 100% |  |  |  | https://www.world-nuclear.org/information-library/economic-aspects/economics-of-nuclear-power.aspx
Fixed O&M Costs
Labor | 100% | D351: Electricity generation and distribution | ISIC 351 | Based on source, non-labor costs are neglible | https://www.nei.org/CorporateSite/media/filefolder/resources/reports-and-briefs/nuclear-costs-context-201810.pdf
Variable O&M Costs
water, water discharge treatment cost, chemicals, and consumables | 100% | D36T39: Water and waste | ISIC 36T39 | Water considered to be the largest cost | https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/capital_cost_AEO2020.pdf
Hydro
Capital Costs | Percent | I-O Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Land, Water and Facility Rights |  |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Land and Water Rights | 0.5412% | D68: Real estate activities | ISIC 68 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Transmission Line Right of Way | 0.1312% | D68: Real estate activities | ISIC 68 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Subtotal | 0.6725% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Construction Materials and Equipment |  |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Civil Works and Structures | 35.57% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Civil Subtotal | 35.57% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Equipment |  |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Turbines | 9.021% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Generators | 5.412% | D27: Electrical equipment | ISIC 27 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Balance of Plant - Electrical | 1.894% | D27: Electrical equipment | ISIC 27 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Balance of Plant - Mechanical | 1.804% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Main Power Transformers | 0.5784% | D27: Electrical equipment | ISIC 27 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Switchyard and Interconnection | 1.804% | D27: Electrical equipment | ISIC 27 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Transmission Line | 0.8299% | D27: Electrical equipment | ISIC 27 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Equipment Subtotal | 21.34% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Installation/Labor |  |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Civil Works and Structures | 19.56% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Turbines | 1.434% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Generators | 0.8606% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Balance of Plant Electrical | 0.3012% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Balance of Plant Mechanical | 0.2869% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Main Power Transformers | 0.07171% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Switchyard and Interconnection | 0.2869% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Transmission Lines | 0.4838% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Installation/Labor Subtotal | 23.29% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Other Costs |  |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Mitigation | 0% | D41T43: Construction | ISIC 41T43 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Licensing, Permitting and Interconnection Agreement | 5.737% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Engineering and Other Professional Services | 13.39% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Insurance | 0% | D64T66: Financial and insurance activities | ISIC 64T66 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Other Development | 0% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Other Subtotal | 19.12% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Subtotal | 100% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Sales Tax (Materials & Equipment Purchases) | 0% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Total | 100% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Fixed O&M Costs |  |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Personnel and Labor | 21.71% | D351: Electricity generation and distribution | ISIC 351 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Materials and Services |  |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Supplies, Tools, Vehicles, etc. | 9.659% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Insurance | 31.25% | D64T66: Financial and insurance activities | ISIC 64T66 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Taxes and Duties | 0% | D84: Public admin. and defence; compulsory social security | ISIC 84 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Regulatory Compliance | 18.07% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Rents/Leases | 0% | D68: Real estate activities | ISIC 68 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Replacement Parts | 19.32% | D27: Electrical equipment | ISIC 27 | Mapping based on Conventional Hydro JEDI and judgment | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Subtotal | 78.29% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Subtotal | 100% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Sales Tax (Materials & Equipment Purchases) | 0% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Total (without property taxes and debt financing) | 100% |  |  |  | https://www.nrel.gov/analysis/jedi/conventional-hydro.html
Variable O&M Costs
Water for power, hydraulic expenses, electric expenses, rent, misc. | 100% | D36T39: Water and waste | ISIC 36T39 | Assigned 100% to utilities based on description | https://www1.eere.energy.gov/water/pdfs/doewater-00662.pdf
Biomass
Capital Costs | Percent | I-O Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Feedstock handling equipment | 14% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Turbines, boilers, and air quality control equipment | 42% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Other equipment | 0% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Construction Labor | 14% | D41T43: Construction | ISIC 41T43 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Balance of Plant | 12% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Professional Services (legal, engineering, development, etc.) | 18% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Fixed O&M Costs
Labor | 100% | D351: Electricity generation and distribution | ISIC 351 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Variable O&M Costs
Chemicals (including ammonia) | 73.62% | D20: Chemicals | ISIC 20 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Water | 7.834% | D36T39: Water and waste | ISIC 36T39 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Solids/Ash Disposal | 18.55% | D36T39: Water and waste | ISIC 36T39 | Mapping based on I-JEDI and judgment | https://www.nrel.gov/analysis/jedi/international.html
Solar Thermal
Capital Costs | Percent | I-O Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Materials
Construction (concrete rebar, equip, roads and site prep) | 2.668% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Subtotal | 2.668%
Labor
Sitework and Infrastructure | 0.7528% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Field Erection | 8.999% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Support Structures | 0.5317% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Piping | 2.936% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Electrical | 1.171% | D41T43: Construction | ISIC 41T43 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Subtotal | 14.39%
Subtotal | 17.06%
Equipment Costs
Mirrors | 5.917% | D231: Glass | ISIC 231 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Heat Collection Elements | 18.76% | D25: Fabricated metal products | ISIC 25 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Thermal Energy Storage Tanks | 5.448% | D25: Fabricated metal products | ISIC 25 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Heat Exchangers | 4.047% | D25: Fabricated metal products | ISIC 25 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Heat Transfer System Equipment | 3.32% | D25: Fabricated metal products | ISIC 25 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Heat Transfer and Storage Fluids | 11.72% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Steam Turbines & Generators | 7.919% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Misc. Electrical and Solar Equipment (pumps, motors, drive, etc.) | 0.2666% | D27: Electrical equipment | ISIC 27 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Water Treatment | 0.2307% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Metal Support Structure | 3.553% | D25: Fabricated metal products | ISIC 25 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Interconnection Piping | 5.162% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Electronics & Controls | 1.785% | D27: Electrical equipment | ISIC 27 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Balance of Plant | 2.036% | D28: Machinery and equipment, nec | ISIC 28 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Subtotal | 70.16%
Other Costs
Freight & Transportation | 0% | D49T53: Transportation and storage | ISIC 49T53 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Engineering & Project Management | 10.36% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Misc. Costs (permitting, licensing, legal) | 2.416% | D69T82: Other business sector services | ISIC 69T82 | Mapping based on JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Subtotal | 12.78%
Subtotal | 100%
Sales tax
Total
Fixed O&M Costs
Personnel
Operations | 10.96% | D351: Electricity generation and distribution | ISIC 351 | EI assumption | https://www.nrel.gov/analysis/jedi/csp.html
Administrative | 10.1% | D351: Electricity generation and distribution | ISIC 351 | EI assumption | https://www.nrel.gov/analysis/jedi/csp.html
Power Plant Maintenance | 6.944% | D351: Electricity generation and distribution | ISIC 351 | EI assumption | https://www.nrel.gov/analysis/jedi/csp.html
Field Maintenance | 9.465% | D351: Electricity generation and distribution | ISIC 351 | EI assumption | https://www.nrel.gov/analysis/jedi/csp.html
Personnel Subtotal | 37.47%
Materials and Services
Water | 6.621% | D36T39: Water and waste | ISIC 36T39 | JEDI
Water Treatment (Chemicals) | 1.719% | D20: Chemicals | ISIC 20 | EI assumption; more detailed than JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Misc. Services | 7.766% | D69T82: Other business sector services | ISIC 69T82 | JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Utilities | 4.146% | D351: Electricity generation and distribution | ISIC 351 | JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Fuel (motor vehicle gasoline) | 0% | D19: Coke and refined petroleum products | ISIC 19 | JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Field Parts and Materials and Plant Equip | 42.28% | D25: Fabricated metal products | ISIC 25 | JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Misc. Supplies & Equipment | 0% | D28: Machinery and equipment, nec | ISIC 28 | JEDI | https://www.nrel.gov/analysis/jedi/csp.html
Materials and Services Subtotal | 62.53%
Total | 100%
Geothermal
Capital Costs | Percent | I-O Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Drilling
Site preparation | 0.05878% | D07T08: Mining and quarrying of uranium and non-energy-producing products | ISIC 07T08 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Rig operator and drilling services | 2.21% | D07T08: Mining and quarrying of uranium and non-energy-producing products | ISIC 07T08 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Cement and cement additives | 0.03665% | D239: Cement and other nometallic minerals | ISIC 239 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Petroleum | 0.23% | D19: Coke and refined petroleum products | ISIC 19 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Bits and stabilizers | 0.1528% | D25: Fabricated metal products | ISIC 25 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Mud and detergents | 0.04851% | D20: Chemicals | ISIC 20 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Casing and wellhead | 0.5827% | D07T08: Mining and quarrying of uranium and non-energy-producing products | ISIC 07T08 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Worker housing | 0.06889% | D55T56: Accomodation and food services | ISIC 55T56 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Professional services (engineers, geologists, supervisors, etc.) | 0.2974% | D351: Electricity generation and distribution | ISIC 351 | 50% assigned in JEDI; 100% here | https://www.nrel.gov/analysis/jedi/international.html
Other
Engineering and design | 50.17% | D351: Electricity generation and distribution | ISIC 351 | 50% assigned in JEDI; 100% here | https://www.nrel.gov/analysis/jedi/international.html
Mechanical equipment (turbines, generators, pumps, condensers, heat exchangers) | 46.06% | D28: Machinery and equipment, nec | ISIC 28 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Permitting and environmental assessment | 0.08217% | D84: Public admin. and defence; compulsory social security | ISIC 84 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Additional civil works (i.e., roads) | 0% | D41T43: Construction | ISIC 41T43 | JEDI | https://www.nrel.gov/analysis/jedi/international.html
Fixed O&M Costs
Labor | 22.87% | D351: Electricity generation and distribution | ISIC 351 | EI assumption | https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/capital_cost_AEO2020.pdf
Steam Turbine Maintenance | 58.35% | D31T33: Other manufacturing; repair and installation of machinery and equipment | ISIC 31T33 | EI assumption | https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/capital_cost_AEO2020.pdf
Materials and Contract Services | 10.3% | D69T82: Other business sector services | ISIC 69T82 | EI assumption | https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/capital_cost_AEO2020.pdf
Adminsitrative and General | 8.486% | D351: Electricity generation and distribution | ISIC 351 | EI assumption | https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/capital_cost_AEO2020.pdf
Variable O&M Costs
Catalyst replacement, ammonia, limestone, water, ash disposal, FGD waste disposal, and water discharge treatment cost | 100% | D36T39: Water and waste | ISIC 36T39 | Water likely to be biggest cost; 100% assigned to utilities | https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/capital_cost_AEO2020.pdf
Offshore Wind
Capital Costs | Percent | I-O Mapping | ISIC Mapping | Notes | Sources
Construction Costs | of Cost
Turbine Equipment
Nacelle/Drivetrain | 3.224% | D28: Machinery and equipment, nec | ISIC 28 | Offshore Wind JEDI
Blades | 1.604% | D28: Machinery and equipment, nec | ISIC 28 | Offshore Wind JEDI
Towers | 1.24% | D25: Fabricated metal products | ISIC 25 | Offshore Wind JEDI
Ground Transportation (to project staging area/port) | 0% | D49T53: Transportation and storage | ISIC 49T53 | Offshore Wind JEDI
Warranty Cost | 0% | D28: Machinery and equipment, nec | ISIC 28 | Offshore Wind JEDI
Turbine Equipment Total | 6.068%
Materials and Other Equipment
Piling, anchors, mooring | 0.5979% | D28: Machinery and equipment, nec | ISIC 28 | Offshore Wind JEDI
Foundation (including anchors or alternatives for fixed bottom types only) | 2.046% | D25: Fabricated metal products | ISIC 25 | Offshore Wind JEDI
Substructure | 1.372% | D25: Fabricated metal products | ISIC 25 | Offshore Wind JEDI
Project Collection System | 0.4967% | D27: Electrical equipment | ISIC 27 | Offshore Wind JEDI
HV Cable (project site to point of grid interconnection) | 13.24% | D27: Electrical equipment | ISIC 27 | Offshore Wind JEDI
Onshore substation (formerly converter station) | 5.68% | D27: Electrical equipment | ISIC 27 | Offshore Wind JEDI
Offshore substation (formerly substation) | 8.147% | D27: Electrical equipment | ISIC 27 | Offshore Wind JEDI
Materials and Other Equipment Total | 31.58%
Labor Installation
Foundation | 0.6217% | D41T43: Construction | ISIC 41T43 | Offshore Wind JEDI
Substructure | 0.4168% | D41T43: Construction | ISIC 41T43 | Offshore Wind JEDI
Erection/Installation | 0.4233% | D41T43: Construction | ISIC 41T43 | Offshore Wind JEDI
Project Collection | 7.207% | D41T43: Construction | ISIC 41T43 | Offshore Wind JEDI
Grid Interconnection (including substation) | 5.674% | D41T43: Construction | ISIC 41T43 | Offshore Wind JEDI
Management/Supervision | 2.544% | D69T82: Other business sector services | ISIC 69T82 | Offshore Wind JEDI
Labor Installation Total | 16.89%
Insurance During Construction
CAR/Third Party liability/business interuption, etc. | 0.8715% | D64T66: Financial and insurance activities | ISIC 64T66 | Offshore Wind JEDI
Development Services/Other
Engineering | 6.068% | D69T82: Other business sector services | ISIC 69T82 | Offshore Wind JEDI
Legal Services | 1.533% | D69T82: Other business sector services | ISIC 69T82 | Offshore Wind JEDI
Public Relations | 0.4599% | D69T82: Other business sector services | ISIC 69T82 | Offshore Wind JEDI
Ports and Staging | 0.3435% | D49T53: Transportation and storage | ISIC 49T53 | Offshore Wind JEDI
Site Certificate/Permitting | 5.111% | D69T82: Other business sector services | ISIC 69T82 | Offshore Wind JEDI
Air Transportation (personnel or materials) | 0% | D49T53: Transportation and storage | ISIC 49T53 | Offshore Wind JEDI
Marine Transportation (personnel or materials) | 18.24% | D49T53: Transportation and storage | ISIC 49T53 | Offshore Wind JEDI
Erection/Installation (equipment services) | 0.7208% | D69T82: Other business sector services | ISIC 69T82 | Offshore Wind JEDI
Decomissioning Bonding | 2.615% | D64T66: Financial and insurance activities | ISIC 64T66 | Offshore Wind JEDI
Development Services/Other Total | 35.09%
Construction Financing (AFUDC)
Interest During Construction | 0% | D64T66: Financial and insurance activities | ISIC 64T66 | Offshore Wind JEDI
Due Diligence Costs | 0% | D69T82: Other business sector services | ISIC 69T82 | Offshore Wind JEDI
Reserve Accounts (MRA/DSRA) | 0% | D64T66: Financial and insurance activities | ISIC 64T66 | Offshore Wind JEDI
Bank Fees | 0% | D64T66: Financial and insurance activities | ISIC 64T66 | Offshore Wind JEDI
Construction Financing Total | 0%
Other Miscellaneous | 9.502% | D69T82: Other business sector services | ISIC 69T82 | Offshore Wind JEDI
Subtotal (all costs without taxes) | 100%
Sales Tax (Material and Equipment Purchases) | 0% | D84: Public admin. and defence; compulsory social security | ISIC 84 | Offshore Wind JEDI
Total Construction Cost | 100%
Fixed O&M Costs
Labor
Technician Salaries | 6.318% | D351: Electricity generation and distribution | ISIC 351 | Offshore Wind JEDI
Monitoring & Daily Operation Staff and Other Craft Labor | 0% | D351: Electricity generation and distribution | ISIC 351 | Offshore Wind JEDI
Administrative | 1.17% | D351: Electricity generation and distribution | ISIC 351 | Offshore Wind JEDI
Management/Supervision | 5.616% | D351: Electricity generation and distribution | ISIC 351 | Offshore Wind JEDI
Labor Total | 13.1%
Materials and Services
Water Transport | 19.94% | D49T53: Transportation and storage | ISIC 49T53 | Offshore Wind JEDI
Site Facilities | 9.972% | D69T82: Other business sector services | ISIC 69T82 | Offshore Wind JEDI
Machinery and Equipment | 4.274% | D28: Machinery and equipment, nec | ISIC 28 | Offshore Wind JEDI
Subcontractors | 6.41% | D41T43: Construction | ISIC 41T43 | Offshore Wind JEDI
Corrective Maintenance Parts | 46.3% | D28: Machinery and equipment, nec | ISIC 28 | Offshore Wind JEDI
Materials and Services Subtotal | 86.9%
Subtotal (all costs without taxes) | 100%
Sales Tax (Material and Equipment Purchases) | 0% | D84: Public admin. and defence; compulsory social security | ISIC 84 | Offshore Wind JEDI
Total Operational Cost | 100%

## SoESCaOMCbIC-capital
| ISIC 01T03 | ISIC 05 | ISIC 06 | ISIC 07T08 | ISIC 09 | ISIC 10T12 | ISIC 13T15 | ISIC 16 | ISIC 17T18 | ISIC 19 | ISIC 20 | ISIC 21 | ISIC 22 | ISIC 231 | ISIC 239 | ISIC 241 | ISIC 242 | ISIC 25 | ISIC 26 | ISIC 27 | ISIC 28 | ISIC 29 | ISIC 30 | ISIC 31T33 | ISIC 351 | ISIC 352T353 | ISIC 36T39 | ISIC 41T43 | ISIC 45T47 | ISIC 49T53 | ISIC 55T56 | ISIC 58T60 | ISIC 61 | ISIC 62T63 | ISIC 64T66 | ISIC 68 | ISIC 69T82 | ISIC 84 | ISIC 85 | ISIC 86T88 | ISIC 90T96 | ISIC 97T98
hard coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0012989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37301 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38864 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011627 | 0 | 0.22542 | 0 | 0 | 0 | 0 | 0
natural gas nonpeaker | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51765 | 0 | 0 | 0 | 0.0058824 | 0 | 0 | 0.28235 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0058824 | 0.047059 | 0.11765 | 0.023529 | 0 | 0 | 0 | 0
nuclear | 0 | 0 | 0 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0
hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10519 | 0.10825 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0067245 | 0.19124 | 0 | 0 | 0 | 0 | 0
wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10948 | 0 | 0.01217 | 0.53983 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16019 | 0 | 0.075578 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05086 | 0.051886 | 0 | 0 | 0 | 0
solar PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41228 | 0.24561 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15789 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14035 | 0.04386 | 0 | 0 | 0 | 0
solar thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.059172 | 0 | 0 | 0 | 0.35129 | 0 | 0.020512 | 0.27066 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17059 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12778 | 0 | 0 | 0 | 0 | 0
biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0 | 0 | 0 | 0 | 0
geothermal | 0 | 0 | 0 | 0.028519 | 0 | 0 | 0 | 0 | 0 | 0.0023001 | 0.00048507 | 0 | 0 | 0 | 0.00036649 | 0 | 0 | 0.0015284 | 0 | 0 | 0.46057 | 0 | 0 | 0 | 0.50472 | 0 | 0 | 0 | 0 | 0 | 0.00068887 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00082165 | 0 | 0 | 0 | 0
petroleum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51765 | 0 | 0 | 0 | 0.0058824 | 0 | 0 | 0.28235 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0058824 | 0.047059 | 0.11765 | 0.023529 | 0 | 0 | 0 | 0
natural gas peaker | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51765 | 0 | 0 | 0 | 0.0058824 | 0 | 0 | 0.28235 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0058824 | 0.047059 | 0.11765 | 0.023529 | 0 | 0 | 0 | 0
lignite | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0012989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37301 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38864 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011627 | 0 | 0.22542 | 0 | 0 | 0 | 0 | 0
offshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.046577 | 0 | 0.27562 | 0.054258 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14343 | 0 | 0.18587 | 0 | 0 | 0 | 0 | 0.034861 | 0 | 0.25939 | 0 | 0 | 0 | 0 | 0
crude oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51765 | 0 | 0 | 0 | 0.0058824 | 0 | 0 | 0.28235 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0058824 | 0.047059 | 0.11765 | 0.023529 | 0 | 0 | 0 | 0
heavy or residual fuel oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.51765 | 0 | 0 | 0 | 0.0058824 | 0 | 0 | 0.28235 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0058824 | 0.047059 | 0.11765 | 0.023529 | 0 | 0 | 0 | 0
municipal solid waste | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18 | 0 | 0 | 0 | 0 | 0

## SoESCaOMCbIC-fixedOM
| ISIC 01T03 | ISIC 05 | ISIC 06 | ISIC 07T08 | ISIC 09 | ISIC 10T12 | ISIC 13T15 | ISIC 16 | ISIC 17T18 | ISIC 19 | ISIC 20 | ISIC 21 | ISIC 22 | ISIC 231 | ISIC 239 | ISIC 241 | ISIC 242 | ISIC 25 | ISIC 26 | ISIC 27 | ISIC 28 | ISIC 29 | ISIC 30 | ISIC 31T33 | ISIC 351 | ISIC 352T353 | ISIC 36T39 | ISIC 41T43 | ISIC 45T47 | ISIC 49T53 | ISIC 55T56 | ISIC 58T60 | ISIC 61 | ISIC 62T63 | ISIC 64T66 | ISIC 68 | ISIC 69T82 | ISIC 84 | ISIC 85 | ISIC 86T88 | ISIC 90T96 | ISIC 97T98
hard coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25108 | 0 | 0 | 0 | 0.5974 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15152 | 0 | 0 | 0 | 0 | 0
natural gas nonpeaker | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060604 | 0 | 0 | 0 | 0.4182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5212 | 0 | 0 | 0 | 0 | 0
nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19318 | 0.09659 | 0 | 0 | 0 | 0.21706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31252 | 0 | 0.18066 | 0 | 0 | 0 | 0 | 0
wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0095772 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54553 | 0 | 0 | 0 | 0.11939 | 0 | 0 | 0 | 0.086808 | 0 | 0 | 0 | 0 | 0 | 0.18418 | 0 | 0.0095772 | 0.044942 | 0 | 0 | 0 | 0
solar PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.64649 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017192 | 0 | 0 | 0 | 0 | 0 | 0 | 0.42278 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41616 | 0 | 0.066214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077662 | 0 | 0 | 0 | 0 | 0
biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58346 | 0.31357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10297 | 0 | 0 | 0 | 0 | 0
petroleum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060604 | 0 | 0 | 0 | 0.4182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5212 | 0 | 0 | 0 | 0 | 0
natural gas peaker | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060604 | 0 | 0 | 0 | 0.4182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5212 | 0 | 0 | 0 | 0 | 0
lignite | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25108 | 0 | 0 | 0 | 0.5974 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15152 | 0 | 0 | 0 | 0 | 0
offshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5057 | 0 | 0 | 0 | 0.13105 | 0 | 0 | 0.064103 | 0 | 0.19943 | 0 | 0 | 0 | 0 | 0 | 0 | 0.099716 | 0 | 0 | 0 | 0 | 0
crude oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060604 | 0 | 0 | 0 | 0.4182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5212 | 0 | 0 | 0 | 0 | 0
heavy or residual fuel oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060604 | 0 | 0 | 0 | 0.4182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5212 | 0 | 0 | 0 | 0 | 0
municipal solid waste | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SoESCaOMCbIC-variableOM
| ISIC 01T03 | ISIC 05 | ISIC 06 | ISIC 07T08 | ISIC 09 | ISIC 10T12 | ISIC 13T15 | ISIC 16 | ISIC 17T18 | ISIC 19 | ISIC 20 | ISIC 21 | ISIC 22 | ISIC 231 | ISIC 239 | ISIC 241 | ISIC 242 | ISIC 25 | ISIC 26 | ISIC 27 | ISIC 28 | ISIC 29 | ISIC 30 | ISIC 31T33 | ISIC 351 | ISIC 352T353 | ISIC 36T39 | ISIC 41T43 | ISIC 45T47 | ISIC 49T53 | ISIC 55T56 | ISIC 58T60 | ISIC 61 | ISIC 62T63 | ISIC 64T66 | ISIC 68 | ISIC 69T82 | ISIC 84 | ISIC 85 | ISIC 86T88 | ISIC 90T96 | ISIC 97T98
hard coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76503 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071038 | 0 | 0 | 0 | 0 | 0
natural gas nonpeaker | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.84483 | 0 | 0 | 0.051724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.84483 | 0 | 0 | 0.051724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas peaker | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.84483 | 0 | 0 | 0.051724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lignite | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76503 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071038 | 0 | 0 | 0 | 0 | 0
offshore wind | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
crude oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.84483 | 0 | 0 | 0.051724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heavy or residual fuel oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.84483 | 0 | 0 | 0.051724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
municipal solid waste | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0